Ordinance No. 448
City of Longton Sewer Use Ordiance

Section 1. DEFINITIONS.

For the purpose of this article, the following definitions shall apply unless the context clearly indicates or requires a different meaning.

B.O.D. (DENOTING BIOCHEMICAL OXYGEN DEMAND). The quantity of oxygen utilized in the biochemical oxidation of organic matter under standard laboratory procedure in five days at 20°C, expressed in parts per million by weight.

BUILDING DRAIN. The part of the lowest horizontal piping of a drainage system that receives the discharge from soil, waste and other drainage pipes inside the walls of the building and conveys it to the building sewer, beginning five feet outside the innerface of the building wall.

BUILDING SEWER. The extension from the building drain to the public sewer or other place of disposal.

COMBINED SEWERS. Sewers receiving both surface runoff and sewage are not permitted.

INDIVIDUAL DOMESTIC. Any single-family residence, commercial business, office, institution, school, church or public entity having an individual direct or indirect connection to the wastewater facilities of the city and on individual city or private water service meter, or connection to any such water service.

INDUSTRIAL. Any industrial business engaged in the manufacturing or processing of one or more products, and in which wastewaters are produced from such manufacturing or processing and said wastewaters are discharged directly or indirectly to the wastewater facilities of the city.

MULTI-DOMESTIC. Any multi-family residence, apartment or mobile home and any commercial business, office, institution, school, church or public entity having a direct or indirect connection to the wastewater facilities of the city and not having an individual water service meter but is served with city or private metered water by the owner of the property on which it is located.

NORMAL WASTEWATER. The strength of normal wastewater shall be considered within the following ranges:

      (1)   A five day biochemical oxygen demand of 300 milligrams per liter or less;

      (2)   A suspended solid concentration of 350 milligrams or less; and

      (3)   Hydrogen ion concentration of 5.0 to 9.0.

   pH. The logarithm of the reciprocal of the weight of hydrogen ions in grams per liter of solution.

PUBLIC SEWER. A sewer in which all owners of abutting properties have equal rights and is controlled by public authority.

SANITARY SEWER. A sewer that carries sewage and to which storm, surface and groundwaters are not intentionally admitted.

SEWAGE. A combination of the water-carried wastes from residences, business buildings, institutions and industrial establishments, together with such ground, surface and stormwaters as may be present.

SEWAGE TREATMENT PLANT. Any arrangement of devices and structures used for treating sewage.

SEWER. A pipe or conduit for carrying sewage.

STORM SEWER or STORM DRAIN. A sewer that carries storm and surface waters and drainage, but excludes sewage and polluted industrial wastes.

SUPERINTENDENT. The Superintendent of the city or his or her authorized deputy, agent or representative.

SUSPENDED SOLIDS. Solids that either float on the surface of, or are in suspension in water, sewage or other liquids, and which are removable by laboratory filtering.

USER. Any person, including an institution, governmental agency or political subdivision producing wastewater requiring processing and treatment to remove pollutants and having premises connected to the wastewater facilities.

WASTEWATER. Sewage, the combination of liquids and water-carried wastes from residences, commercial and industrial buildings, institutions, governmental agencies, together with any ground, surface or stormwater that may be present.

Section 2. SEWER CONNECTION REQUIRED.

The owner of all houses, buildings or properties used for human occupancy, employment, recreation or other purpose, situated within the city and abutting on any street, alley or right-of-way in which there is now located or may in the future be located a public sanitary sewer of the city, is hereby required at his or her expense to install suitable toilet facilities therein, and to connect such facilities directly with the proper public sewer in accordance with the provisions of this article, within 90 days after date of official notice to do so; provided, that said public sewer is within 140 feet of the property line.

Section 3. PERMIT; CONNECTION FEE.

   (a)   No person shall uncover, make any connections with, or opening into, use, alter or disturb any public sewer or appurtenance thereof without first obtaining a written permit from the city.

   (b)   There shall be charged a fee, as set by the governing body, payable at the time of making application for the permit.

Section 4. APPLICATION.

   (a)   Any person desiring to make a connection to the city sewer system shall apply in writing to the City Clerk who shall forward the application to the Utility Superintendent.

   (b)   The application shall contain:

      (1)   The legal description of the property to be connected;

      (2)   The name and address of the owner or owners of the property;

      (3)   The kind of property to be connected (residential, commercial or industrial); and

      (4)   The point of proposed connection to the city sewer line.

Section 5. COSTS.

All costs and expense incident to the installation and connection of the building sewer shall be paid by the owner. The owner shall indemnify the city from any loss or damage that may directly or indirectly be occasioned by the installation of the building sewer.

Section 6. SEWER CONNECTION.

The connection of the building sewer into the public sewer shall be made at the “Y” branch if such branch is available at a suitable location. Where no properly located “Y” branch is available, the connection shall be made in the manner approved by the Utility Superintendent and at a location designated by the Superintendent.

Section 7-1. SEWER FOR EACH BUILDING.

A separate and independent building sewer shall be provided for every building except where one building stands at the rear of another on an interior lot and no private sewer is available or can be feasibly constructed to the rear building. In such case, the building sewer from the front building may be extended to the rear building and the whole considered as one building sewer.


Section 7-2. SAME; SPECIFICATIONS.

The building sewer shall be constructed of cast iron pipe, ASTM specifications A74-42, or approved equal; vitrified clay sewer pipe, ASTM specifications C13-44T, or approved equal; or an approved plastic pipe. Any plastic pipe to be installed on any building sewer shall not be approved by the city until the owner has furnished descriptive literature and typical sample section of the plastic pipe proposed for installation, to the city for inspection and review. All joints on all pipe installed shall be tight and water- proof. Any part of the building sewer that is located within ten feet of a water service pipe or city water main shall be constructed of approved cast iron soil pipe with approved joints. No building sewer shall be installed within three feet of existing gas lines. If installed in filled or unstable ground, the building sewer shall be constructed of cast iron soil pipe, except that non-metallic material may be accepted if laid on a suitable concrete bed or cradle as approved by the city.

Section 7-3. SAME; SPECIFICATIONS; SIZE AND SLOPE OF BUILDING SEWER.

The size and slope of the building sewer to be installed shall be subject to the approval of the City Inspector, but in no event shall the diameter of the pipe be less than four inches. The slope at which a six inch pipe is to be laid shall be not less than one-eighth inch per foot and for four inch pipe, not less than one-fourth inch per foot. Any grades for the pipe, which are proposed for installation at grades less than these specified, shall be approved by the City Inspector prior to placement.

Section 7-4. SAME; SPECIFICATIONS; ELEVATION.

Whenever possible, the building sewer shall be brought to the building at an elevation below the basement floor. No building sewer shall be laid parallel to or within three feet of any bearing wall, which might thereby be weakened. The depth shall be sufficient to afford protection from frost. The building sewer shall be laid at a uniform grade and in straight alignment insofar as possible. Changes in direction shall be made only with approved curved pipe and fittings, including cleanout fittings.

Section 7-5. SAME; SPECIFICATIONS; LIFT.

At buildings in which the building drain is too low to permit gravity flow to the public sewer, sanitary sewage carried by such drain shall be lifted by approved artificial means and discharged to the building sewer. The use of any pumping equipment for which cross-connections with a public water supply system are needed, is prohibited. The total costs of pumping equipment and pumping equipment operational costs shall be those of the owner.

Section 7-6. SAME; SPECIFICATIONS; CESSPOOL, SEPTIC TANK OR VAULT.

No building sewer shall be laid across a cesspool, septic tank or vault until the cesspool, septic tank or vault has been well cleaned and filled with an approved earth or sand fill, then thoroughly tamped and water settled. Cast iron pipe may be used across cesspools or septic tanks, if proper bedding and support for the sewer pipe is acquired.

Section 7-7. SAME; SPECIFICATIONS; EXCAVATIONS.

All excavation required for the installation of the building sewer shall be open trench work unless otherwise approved by the city. Pipe laying and backfill shall be performed in accordance with ASTM specifications C12-19, except that no backfill shall be placed until the work has been inspected and approved.

Section 7-8. SAME; SPECIFICATIONS; JOINTS.

   (a)   All joints in the building sewers shall be made water-tight. If recommended by the City Inspector, a water pressure test shall be made on the completed sewer to ensure a compliance with this requirement, requiring that the building sewer withstand an internal water pressure of five psi, without leakage.

   (b)   Cast iron pipe with lead joints shall be firmly packed with oakum or hemp and filled with molten lead, federal specifications QQ-L-156, not less than one inch deep. Lead shall be run in one pour and caulked and packed tight. No paint, varnish or other coatings shall be permitted on the jointing material until after the joint has been tested and approved.

   (c)   All joints in vitrified clay pipe shall be the polyurethane-compression type joints, approved by the City Inspector.

   (d)   Joints for all plastic pipe used in building sewers shall be the slip type joints or solvent weld type, approved by the city.

   (e)   Joints between any two different types of pipes shall be made with lead, asphaltic jointing materials or concrete, as approved by the city. All joints shall be water-tight and constructed to ensure minimum root penetration and to the satisfaction of the city.

Section 8. SEWER EXCAVATIONS: DAMAGES.

All excavations for buildings sewers shall be adequately guarded with barricades and lights so as to protect the public from hazard. Streets, curb and gutters, sidewalks, parkways and other public property removed or damaged during the installation of the building sewer shall be repaired or replaced in a manner acceptable to the city and at the total expense of the owner. It is further agreed that any parties involved in any excavating or installation work for sewer installations as above set out, will hold the city harmless from any and all damages to persons or property resulting from or growing out of any opening or excavation or any negligent act or from any operation made within the city.

Section 9. FAILURE TO CONNECT.

   (a)   If any person shall fail to connect any dwelling or building with the sewer system after being noticed, the city may cause such buildings to be connected with the sewer system as authorized by K.S.A. 12-631.

   (b)   The cost and expense, including inspection fees, shall be assessed against the property. Until such assessments shall have been collected and paid to the city, the cost of making such connection may be paid from the General Fund or through the issuance of no fund warrants.

Section 10. PRIVY UNLAWFUL.

It shall be unlawful to construct or maintain any privy, privy vault, septic tank, cesspool or other facility intended or used for the disposal of sewage except as provided in this article.

Section 11-1. PRIVATE SEWER SYSTEM.

Where a public sanitary sewer is not available under the provisions of Section 2, the building sewer shall be connected to a private sewage disposal system complying with the provisions of Section 10 to Section 11.5.

Section 11-2. SAME; PERMIT.

Before commencing construction of a private sewage disposal system, the owner shall first obtain a written permit signed by the Utility Superintendent. The application shall be accompanied by any plans, specifications or other information deemed necessary by the Utility Superintendent. A permit and inspection fee, as set by the governing body, shall be paid to the city at the time the application is filed.

Section 11-3. SAME; INSPECTION.

The Utility Superintendent or his or her authorized representative shall be allowed to inspect the work at any stage of construction and the applicant shall notify the Superintendent when the work is ready for final inspection or before any underground portions are covered. The inspection shall be made within 48 hours of the receipt of notice by the Superintendent.

Section 11-4. SAME; DISCHARGE.

   (a)   The type, capacities, location and layout of the private sewage disposal system shall comply with all recommendations and requirements of the Water Pollution Control Section of the State Department of Health and Environment. No permit shall be issued for any private sewage disposal system employing subsurface soil absorption facilities where the area of the lot is less than one acre. No septic tank or cesspool shall be permitted to discharge to any public sewer or natural outlet.

   (b)   At such time as a public sewer becomes available to a property served by a private sewage disposal system, as provided in Section 2, a direct connection shall be made to the public sewer in compliance with this article, and any septic tank, cesspool and similar private sewage disposal facilities shall be abandoned and filled with suitable and acceptable materials.

Section 11-5. SAME; ADDITIONAL REQUIREMENTS.

No statement contained in this article shall be construed to interfere with any additional requirements that may be imposed by the City or County Health Officer.

Section 12. DISPOSAL OF SEWAGE.

It shall be unlawful for any person to deposit or discharge from any source whatsoever any sewage or human excrement upon any public or private grounds within the city, or to permit the contents of any privy, vault or septic tank to be deposited or discharged upon the surface of any grounds. Any unauthorized or unapproved privy vault, septic tank or other means or places for the disposal of sewage, excrement and polluted water may be abated as a public nuisance upon the order of the City or County Board of Health in accordance with the laws of the state.

(K.S.A. 12-1617e, 12-1617g)

Section 13. DAMAGE TO SEWERS.

It shall be unlawful for any unauthorized person to maliciously, willfully or negligently break, damage, destroy, uncover, deface or tamper with any sewer, structure, appurtenance or equipment which is part of the municipal sewer system.

Section 14. NATURAL OUTLET.

It shall be unlawful to discharge to any natural outlet within the city or in any area under the jurisdiction of the city any sanitary sewage, industrial wastes or other polluted waters except where suitable treatment has been provided in accordance with the provisions of this article.

Section 15. STANDARDS.

The size, slope, alignment, materials, excavation, placing of pipe, jointing, testing and backfilling shall all conform to the requirements of the building and plumbing codes or other applicable rules and regulations of the city.

Section 16. OLD BUILDING SEWERS.

Old building sewers may be used in connection with new buildings only when they are found, on examination and test by the Utility Superintendent, to meet all requirements of this article.

Section 17. MUD, GREASE TRAPS.

All garages, filling stations, milk plants or other commercial or industrial plants connected to the public sewer shall construct and maintain proper and sufficient interceptors or traps to prevent the discharge of any sand, mud, sediment, litter, waste or any substance harmful to the effective operation and maintenance of the city sewer system, into the building sewer.

Section 18-1. ROOF, FOUNDATION DRAINS.

   (a)   It shall be unlawful to connect downspouts from any roof area, drains from any building foundation, paved areas, yards or open courts, or to discharge liquid wastes from any air conditioning unit or cooling device having a capacity in excess of one ton per hour or one horsepower into any city sanitary sewer.

   (b)   All discharges prohibited in division (a) above may be discharged into the public gutter or storm drains or open drainage ditches provided such discharge does not create a nuisance. No such liquids may be discharged into any unpaved street or alley.

Section 18-2. SAME; EXCEPTION.

Discharges from air conditioning units in excess of one ton per hour or one horsepower may be permitted into a building sewer upon approval of the Utility Superintendent where there is a finding that such cooling water cannot be recirculated and that such waste water does not overload the capacity of the sewer or interfere with the effective operation of the sewage disposal works of the city.

Section 19. PROHIBITED DISCHARGES.

   No person shall discharge any of the following waters or wastes to any public sewer:

   (a)   Liquid or vapor having a temperature higher than 150°F;

   (b)   Water or waste that may contain more than 100 parts per million, by weight, of fat, oil or grease;

   (c)   Gasoline, benzene, naphtha, fuel oil or other flammable or explosive liquid, solid or gas;

   (d)   Garbage that has not been properly shredded;

   (e)   Ashes, cinders, sand, mud, straw, shavings, metal, glass, rags, feathers, tar, plastics, wood, paunch manure or any other solid or viscous substance capable of causing obstruction to the flow in sewers or other interference with the proper operation of the sewage works;

   (f)   Waters or wastes having a ph lower than 5.5 or higher than 9.0 or having any other corrosive property capable of causing damage or hazard to structures, equipment and personnel of the sewage works;

   (g)   Waters or wastes containing a toxic poisonous substance in sufficient quantity to injury or interfere with any sewage treatment process, constitute a hazard to humans or animals, or create any hazard in the receiving waters of the sewage treatment plant;

   (h)   Water or wastes containing suspended solids of such character and quantity that unusual attention or expense is required to handle such materials at the sewage treatment plant; and

   (i)   Noxious or malodorous gas or substance capable of creating a public nuisance.

Section 20. SEWER SERVICE CHARGE.

   The monthly charge for sewer service shall be as set by the governing body.
This ordinance shall take effect and be in force from and after its publication in the official city newspaper. Passed and approved by the Governing Body of Longton, Kansas, this 22nd day of December 2025.
ATTEST:





___________________________________________










MAYOR CATHY ROBB

__________________________________

BONNIE FOGED, CITY CLERK







(SEAL)










